## Slide 1: Cascading effects What are they and how do they affect society?
Alexander Cedergren
University of Lund

## Slide 2: 1.1 Introduction
In recent decades, the interconnections between fundamental functions and services in society have increased
  For example, growing dependencies to power supply, transportation, health care and communication systems
  These growing dependencies between different societal functions have given rise to more efficient services….
  ....but at the same time also introduced new types of vulnerabilities
  A failure in one system may propagate to other systems, giving rise to cascading effects
Notes: Many systems in society that provide us with fundamental functions and services, such as power supply, transportation, health care and communication systems, have become increasingly interconnected. While this growing dependency between different societal functions has given rise to more efficient services, it has also introduced new types of vulnerabilities. In particular, these mutual dependencies (also called interdependencies) between different systems mean that a failure in one system may cascade to other systems, giving rise to overall consequences which may be more severe than those associated with the initially affected system alone. In order to improve the emergency response to incidents involving cascading effects, knowledge and understanding of the way cascading effects propagate between different systems in society, and how these types of events give rise to negative consequences, are crucial.

## Slide 3: 1.2 What are cascading effects?
Cascading effects are the effects arising when an incident affecting one system or function in society propagates to another system or function, due to a dependency between them
More specifically, cascading effects can be defined as the impact of an initiating event, where:
1. System dependencies lead to impacts propagating to other systems, and;
2. The combined impacts of the propagated event are of greater consequences than the root impacts, and;
3. Multiple stakeholders and/or responders are involved.
Notes: A simple example can be used to explain the main features of this definition. First of all, an initiating event of some sort must occur that affects one or several systems. This initiating event may for example be a fire in a power station. While this event in itself may result in direct economic consequences and impacts on the power system, it does not per se give rise to cascading effects unless other systems or functions are affected by the degraded function of the power system. However, when the fire in the power station in the end causes failures in railway transport, it is clear that cascading effects have occurred. This is due to the existence of a dependency between the power system and the railway system (first part of the definition), here in form of the railway systems dependence of the power system for its traction power. The combined impacts of the consequences arising in the two systems are clearly greater than the impacts of the initial fire itself, for example resulting in trains not arriving on time, etc. (second part of the definition). Finally, in order to manage this type of event, it is not sufficient with first responders extinguishing the fire, but also infrastructure providers ability to manage the consequences arising in the power system and the transport system. In this way, multiple stakeholders and responders are involved, which is highlighted in the definition above (third part of the definition). This example can be presented in a more generic form by using [FIGURE IN THE NEXT SLIDE]

## Slide 4: 1.2 What are cascading effects?
Notes: From this conceptual figure, it can be seen that an initiating event may affect one or several systems (System 1 and System 2). These are referred to as the originating systems. This event could be, for example, a natural event such as an earthquake, an accidental event such as an explosion, or an internal system failure such as malfunctioning of a technical component Due to dependencies to other systems, cascading effects may arise when impacts arise in other systems (Systems 3, 4, and 5). Returning to the example above, the initiating event may be a fire in a power station happening in the Power system (the originating system called System 1 in the figure). Cascading effects arise due to a dependency between the Power system and the Railway system (the dependent system called System 3 in the figure). If this impacted system gives rise to additional impacts to other system, there is a continuation of the cascading effect. The first resulting effects from directly impacted systems from the initiating event to dependent systems are defined as “first-order cascading effects”. If this line of propagation continues, second, third, etc. order cascading effects arise.

## Slide 5: 1.2 What are cascading effects?
Power Supply
Telecommuni-cation
Water supply
Sewage
Oil and gas
District heating
Health care
Education
Road transportation
Rail transportation
Air transportation
Sea transportation
Agriculture
Business and industry
Media
Financial
Governmental
Emergency response
The public
Environment
Political
Food supply
Categorisation of “systems” used to study cascading effects:
Notes: Central to the above conceptual model [PREVIOUS SLIDE] is the ability to delineate systems and system boundaries. Here we are utilizing the categorization of different types of societal functions into sectors that exist in most countries, e.g. the health care sector or transport sector, to represent a system. These sectors are normally governed by governmental sector authorities and with their specific regulations. This way of defining systems, and associated boundaries, is a practical way of addressing the issue of what constitutes a system. Here we define a total of 22 different types of systems, which together should be considered to cover all types of necessary societal functions in a society.

## Slide 6: 1.2 What are cascading effects?
Other important definitions:
Initiating event (initiator) - the first in a sequence of natural (e.g. flood), accidental (e.g. fire) or intentional (e.g. bombing) events that may affect one or several systems.
Originating system - a system from which a failure propagates to another system.
Dependent system - a system which is negatively affected by a failure in another system.
Impacted system - a system which is negatively affected by either an initiating event, or an event affecting an originating system.
Dependency - mechanism whereby a state change in one system can affect the state of another system.
Interdependency - a mutual dependency between two systems, i.e. system A is dependent on system B and vice versa.
Incident - a chain of events affecting multiple systems.
Cascade order - the number of stages in a propagation from a directly impacted system to a particular system that is impacted indirectly.
Impact - the extent to which a system is affected due to an initiating event or due to a dependency.
Conditions - circumstances that can enable, prevent, aggravate or mitigate dependencies and impacts.

## Slide 7: 2. How can previous events involving cascading effects be studied?
A structured approach for studying previous events involving cascading effects
  Using data consisting of written documentation (e.g. official reports, investigations or media reports)
Method consisting of three steps:
Step 1 – Identify Impacted Systems
  What systems have been impacted, either by the initiating event or through dependencies to one or several originating systems?
Step 2 – Describe Dependency Impacts
  How, and to what extent, is a system exposed to strain when a system on which it depends on has been impacted?
  Description of: Dependency consequences, Dependency characteristics, Dependency conditions, Dependency impact level
  Step 3 – Describe System Impacts
  How, and to what extent, is a system impacted by a strain when a system on which it depends on has been impacted?
  Description of: System consequences, System consequence characteristics, System conditions, System impact level
Notes: As mentioned in the introduction, an important way of improving the response to incidents involving cascading effects is to learn from such events that have occurred in the past, which is facilitated by a using a structured approach for collecting and analysing data.
The method incorporates the key concepts and the conceptual model described in the previous slides. The purpose of the method is to enable systematic descriptions of key characteristics of cascading effects in past events among a broad variety of societal actors constituting the different systems. Further, the method also supports describing circumstances that affected how the cascading effect developed, termed mitigating or aggravating conditions. These types of conditions play an important role as they enable the extrapolation and generalization of the findings from one context to another, which is important in order for knowledge of past events to be useful as decision support in future events. These descriptive accounts can then be used to analyse cascading effects, both by analysing individual events involving cascading effects and by analysing general patterns across different events. The results from such analyses can then e.g. be used for predictive analyses and/or integrated in decision support tools.
The method consists of carrying out three different steps with respect to the identification of cascading effects. The three main steps of the method are:
Step 1 – Identify Impacted Systems
Step 2 – Describe Dependency Impacts
Step 3 – Describe System Impacts.
Step 1:
The first step of the method constitutes identifying systems that have been impacted, either by the initiating event or through dependencies to one or several originating systems, which have been impacted in an earlier cascade order. In addition, systems that could have been impacted due to some specific and traceable conditions are also identified, i.e. keeping track of potential effects.
A single system may be influenced several times as it can be affected in several different stages of an event. For example, a certain system could be affected directly by the initiating event; but also indirectly through cascading effects due to a dependency to another system. The impacts might also be very diverse, for example a system may be struck by one type of impact on short-term but another type of impact on long-term, or having one type of impact locally and another type of impact nationally. Hence, when there are different dependencies leading to different impacts for a given system, Dependency and System impacts (Steps 2-3) will be described several times for that system. In practice, this step (and the following) are conducted for each system.
Step 2:
The second step of the method is to describe the Dependency Impact for each impacted system with the purpose to get an understanding of how, and to what extent, a system is exposed to strain when a system on which it depends has been impacted. If there are multiple dependencies that affect a system (which for example would be the case when a combined failure in both rail and road transportation gives rise to a severe impact on fuel distribution), the dependency impacts are described separately. The impact is described from four different perspectives.
Dependency consequences are used to describe the type of and the magnitude of the consequences due to the dependency (or dependencies). Dependency characteristics contribute to the understanding of the nature and mechanism of the dependencies. This in turn may be important for decision-making at a strategic level when considering how to respond to or manage events that involve or may involve cascading effects. Dependency conditions are Conditions that significantly either aggravate or mitigate impacts in order to be able to generalise the information gathered and to extrapolate it to other contexts. For example, if the same event would occur during another time of the year; is it likely that it will lead to similar types of impacts or will it be more or less serious? Dependency Impact Level is a measure of the extent of the dependency impact. It is, admittedly, to some extent a rough judgment made by the analyst, but it is argued to be useful when subsequently analysing and modelling cascading effects. For example, in order to get a sense of whether a relatively small system impact in one system gives rise to very large subsequent dependency impacts on other systems; or whether a rather small dependency impact may give rise to large system impacts for some systems.
Step 3:
The third step of the method is to describe the System Impact for each impacted system which refers to effects on the impacted system due to one or several Dependency Impacts and taking the impacted system’s inherent coping capacity into consideration. The difference between Dependency Impacts and System Impacts is that the Dependency Impact describes the direct exposure, e.g. two water pumps in the water distribution system were flooded due to a failure in the power system. System Impact, then, describes how the system subsequently is impacted by this exposure, e.g. the water distribution system was redundant which only led to some minor issues with low water pressure, or on the other extreme, that it led to complete system collapse. Similar to Step 2, the impact is described from four different perspectives.
System consequences are used to describe the type of and the magnitude of the system consequences. This is done using the same consequence categories and procedure as described for characterising dependency consequences. System consequence characteristics describe aspects of the consequences that contribute to a better understanding of the nature of the system impacts. In addition to conditions that affect the Dependency Impacts, there are also System conditions that can aggravate or mitigate the System Impacts, i.e. circumstances that, if they change, would give rise to different System Impacts although the Dependency Impacts were the same. For example, looking at the water distribution example again, the system impacts due failure of two water pumps could be larger if there was a high demand on the water distribution system at the time of the failure occurrence (e.g. summertime, during hours of high industrial production, etc.). The System Impact Level is a measure of the impacts on what the system aims to accomplish. The System Impact Level will, similar to the estimation of the Dependency Impact Level, generally be a rough judgment made by the analyst, but it is considered to be useful when subsequently analysing and modelling cascading effects.

## Slide 8: 2. Which past events involving cascading events can be interesting to learn from?
No. | Short name | Country | Year | Initiating event
1 | Auckland | New Zealand | 1998 | Power outage
2 | Tieto | Sweden | 2011 | IT-event
3 | UK floods | UK | 2007 | Flooding
4 | Enschede | Netherlands | 2000 | Explosion
5 | London bombings | UK | 2005 | Terrorism
6 | Mont Blanc | Switzerland; France | 1999 | Fire
7 | Sandy | US; Canada; Jamaica; Haiti; … | 2012 | Hurricane
8 | Eyjafjallagökull | Island | 2010 | Volcano eruption
9 | Malmö floods | Sweden | 2014 | Flooding
10 | Myyrmanni bombing | Finland | 2002 | Terrorism
11 | Kista blackout | Sweden | 2001 | Power outage
12 | Östersund | Sweden | 2010-2011 | Contaminated water supply
13 | Baltimore | USA | 2001 | Tunnel Fire
14 | L'Aquila | Italy | 2009 | Earthquake
15 | European blackout | Germany; France; Belgium; Netherlands; … | 2006 | Power outage
16 | Ice storm North America | Canada; USA | 1998 | Ice storm
17 | Philadelphia strike | USA | 2009 | Strike
18 | Russian heat wave | Russia | 2010 | Heat wave
19 | Colorado floods | USA | 2013 | Flooding
20 | Buenos Aires blackout | Argentina | 1999 | Power outage

## Slide 9
No. | Short name | Country | Year | Initiating event
21 | Los Frailos Tailings | Spain | 1998 | Dam rupture
22 | Greece Wild Fire | Greece | 2006 | Wildfire
23 | Earthquake Umbria and Marche | Italy | 1997 | Earthquake
24 | New Mexico cold snap | USA | 2011 | Cold snap
25 | UK fuel crisis | UK | 2000 | Fuel shortage
26 | Darwin blackout | Australia | 2014 | Blackout
27 | Oslo blackout | Norway | 2007 | Power outage
28 | Warrnambool exchange fire | Australia | 2012 | Fire
29 | Philadelphia pipe rupture | USA | 2013 | Water pipe rupture
30 | Boston pipe rupture | USA | 2010 | Water pipe rupture
31 | Pinatubo eruption | Philippines | 1991 | Volcano eruption
32 | Puyehue eruption | Argentina | 2011 | Volcano eruption
33 | Maui pipeline outage | New Zealand | 2011 | Landslide
34 | Kyrill | German; Poland; Austria; Czech Republic | 2007 | Storm
35 | European heatwave | France; UK; Netherlands; Portugal; …. | 2003 | Heatwave
36 | Buncefield fire | UK | 2005 | Fire
37 | Chinese milk scandal | China | 2008 | Food contamination
38 | Balkan flooding | Serbia; Croatia; Bosnia and Herzegovina | 2014 | Flooding
39 | Catalonia droughts | Spain | 2007-2009 | Drought
40 | Varanus Island explosion | Australia | 2008 | Explosion
2. Which past events involving cascading events can be interesting to learn from?

## Slide 10: 3. Learnings on cascading effects from past events
Exemplification of the type of insights that can be gained at a more general level from the collected data
Analyses builds on case studies of the 40 events
  Strengths of analyses in terms of very detailed case studies
  Limitations in terms of possibilities to make generalizations
Notes: The following slides present the results from analyses of the 40 past events involving cascading effects. It should be noted that further insights can be drawn by employing more rigours methods to analyse the data or be utilized for predictive modelling efforts, however here we aim at giving an exemplification of type of insights that can be gained.

## Slide 11: 3.1 Between which systems do cascading effects occur?
Notes: From the detailed analysis of the 40 events involving cascading effects, propagation of effects from one system to another were identified 428 times. About half of these are from an initiating event to a first order impacts and the rest cascading effects of different orders between systems.
In this slide, all Originators (Initiating event or Originating system) are given on the y-axis and Dependencies (Impacted system) are given on the x-axis. The size of the circle represents the relative frequency of cascading effects between the systems. From the figure, it is clear that the two most frequent cascading effects in the analysed events are Power supply to Business & Industry and Power supply to Public. It can also be noted that Power supply is often represented as an originating system (since this system is represented many times along the row corresponding to the Power supply on the y-axis) and seldom as a dependent system (since this system is represented only a relatively few times along the column corresponding to the Power supply on the x-axis). Further, the Public is often represented as a dependent system (i.e. the public is impacted in most of the events) but it is also shown that quite frequently behaviour of the Public has an impact on the functioning of other systems (such as overloading telecommunication towers in the case of emergencies). From this slide it can also be concluded that many cascading effects are not represented in the data in the database, which can be explained by the fact that either there are no such relationships between real-life systems, or a sufficient number of cases has not been analysed to identify them.

## Slide 12: 3.2 Which systems are most frequently originating and dependent systems, respectively?
Notes: In this slide, the number of times each system is represented as an originating and dependent system, respectively, is illustrated. As described above, the Power supply system is the most frequent originating system while the Public was the most frequent dependent system. It can also be concluded that several of the systems are rarely represented among the 40 studied events, such as District heating, Air transportation and Sea transportation.

## Slide 13: 3.3 How many systems are involved in the same event and what cascade order?
Notes: In this slide (top), the number of systems involved in the 40 studied events is plotted against the maximum cascade order for the event. From this analysis, there appears to be a moderate positive correlation between the variables, i.e. in events with a large number of systems involved it is likely that they will also have higher order of cascading effects. In this slide (bottom left), the number of systems involved in the 40 events is plotted against the total event duration (shown in days on a logarithmic scale). From this figure, it seems that there is no clear correlation between the number of systems involved in the event and the duration, which means that it does not necessarily take longer to recover from an event with cascading effects even if many systems are involved. In this slide (bottom right), the cascade order is plotted against the total event duration. Neither does this figure show any clear correlation, i.e. it does not seem that a higher order of cascading effects leads to a longer recovery time.

## Slide 14: 3.4 How often are the systems involved and what is the duration of the impacts?
Notes: In this slide, the grey bars show the number of times each system has been represented in the analysed events. As can be seen from this figure, some systems are more frequently represented than others. For example, the systems Business & Industry and Public are the most frequent ones, while the systems District heating, Media and Political are only represented a few times. The blue lines in the slide illustrate the system impact duration (in days on a logarithmic scale). From this analysis, it can be concluded that many systems have a mean value of impact duration around the range of one to a few hundred days (e.g. the systems Oil and gas, Education, Road transportation, Rail transportation, Agriculture, Business & Industry), while there are a few systems with a significantly shorter system impact durations, ranging between approximately 1-10 days (e.g. Air transportation, Sea transportation, and Media). These result hence gives interesting and important insight on different systems ability to recover from disturbances, i.e. an indication of their resilience.

## Slide 15: 3.5 What coping capacity do the systems have?
Notes: In this slide the assessment of the dependency impact level is compared with the system impact level for each system. This comparison is made in order to gain insights about the coping capacity of each system in relation to the disruption to the system they depend upon. For some systems, the dependency impact level leads to a higher system impact level, which means that these systems seem to be more sensitive to disruptions with respect to the system they depend upon (e.g. Rail transportation, Sea transportation, and Media). For other systems, the relationship seems to be the opposite, i.e. they are more resilient than the system they depend upon as the average system impact level is lower than the dependency impact (e.g. Water supply, Health care, and Education). There are also some examples of systems that seem rather neutral to disturbances in the systems they depend upon, since the average system impact level is more or less the same as the dependency impact level (e.g. Power supply, Telecommunication, and Sewage). From these results it can be concluded that the coping capacity for different systems may vary considerably, meaning that some systems are less affected by disruptions than others.

## Slide 16: 3.6 How long time does it take from the initiating event to impacts in the different systems?
Notes: This slide shows the time delay between when the initiating event started and when a specific system was affected. The figure clearly shows that many systems are impacted more or less instantaneously (see e.g. the systems Public and Environment), or within one day (see e.g. the systems Power supply and Telecommunication). It can also be noted that the system Oil and gas stands out considerably by having a significantly longer time delay than the other systems. This hence gives insights into the “window of opportunity” for taking mediating actions with respect to an initiating event happening and the time to when systems starts getting affected, which is extremely short for most systems in accordance with the data.

## Slide 17: 3.7 How long time does it take for cascading effects to propagate?
Notes: Another interesting parameter relates to the speed of propagation from one system to another. In this slide, the time delay between when a specific system is affected in relation to when the systems it depends upon are firstly affected is given. This type of information can be used to signal “window of opportunities” for breaking chains of cascading effects and for which systems this might be possible. The figure reveals that for many systems there is very limited time delays between when the system they depend upon are affected and when effects arise in the system itself (similarly to the previous slide), e.g. for the systems Food supply, Sewage and Health care. This can be a result of a lack of, even possibility for, buffers in these systems. For some systems, effects occur within one day, e.g. Power supply and Rail transportations, while for some other systems there are time delays up to several days, e.g. Water supply, Road transportations and Agriculture. It can also be noted that when the public is affected, the time delay is on average slightly more than one day, e.g. meaning that mediating actions aimed at minimizing the direct impacts for the public due to failures in systems they depend upon should be deployed within a day.

## Slide 18: 3.8 How large geographical areas are impacted due to different initiating events?
Notes: In this slide, the impacted geographical area for the systems for each type of initiating event is given. Weather-related initiating events like hurricanes and heat waves tend to, in general, impact a larger area while some initiating events like fires or volcano eruptions tend to, in general, impact a smaller area. The figure shows a rather large variation in impacted area between different cases of landslides, fires, physical terrorism and internal failures, while for e.g. volcano eruptions, heat waves and hurricanes, the variation is significantly smaller.

## Slide 19: 3.9 What conditions influence (mitigate or aggravate) cascading effects?
Notes: This slide shows the number of times the different categories and values for conditions are mitigating or aggravating the impact. The most frequently mentioned mitigating condition category is coping capacity, mostly in terms of external resources but also in terms of buffers, structural integrity and preparedness plans. Other commonly mentioned mitigating conditions is the operational state (above normal capacity), and the timing of the event (time of day and weekends). The most mentioned aggravating condition is when the operational state is below normal capacity but also when the coping capacity (buffers and external resources) was below normal. Other commonly mentioned aggravating conditions are location (the event affected a metropolitan area), timing of the event (specifically the season) and weather. Also the cause of the event has been mentioned as an aggravating condition (if the event was intentional).

## Slide 20: 4. Conclusions
Case studies of previous events involving cascading effects have contributed with knowledge about the nature, processes and patterns of cascading effects
Specifically, it can be concluded that:
  Power supply is often represented as an originator and the Public is often a dependent system (i.e. an impacted system)
  In events with a large number of systems involved it is likely that they will also have higher order of cascading effects (although there is not a strong correlation)
  However, it does not necessarily take longer to recover from an event where many systems are involved
Notes: This presentation has summarised conclusions about the nature, processes and patterns of cascading effects. This information was compiled through detailed case studies of 40 past events involving cascading effects, where data was gathered from existing written material in terms of scientific publications, official reports, investigations and media reports. The compiled data contains a significant amount of information from each of the 40 studied past events, including for example information about affected geographical area, time start, time end, cascade order, conditions, impact level, dependency type and dependency characteristics for each impacted system in the event. From the initial analyses of this data, interesting conclusions have been drawn, such as the frequency of propagation of cascading effects between different systems, the frequency of various systems as originating and impacted system, respectively, the duration, cascade order, impacted area, time delays, and much more. This information is highly relevant as a basis for increased understanding of the nature and of cascading effects and how to respond to these events. From the data analysed, it can be concluded that:
Cascading effects most frequently occur from the system category Power supply to Business & Industry and from the system category Power supply to the Public. Power supply is often represented as an originator and Public is often a dependent system (i.e. an impacted system).
In events with a large number of systems involved it is likely that they will also have higher order of cascading effects (although there is not a strong correlation).
Further, it seems that there is no clear correlation between the number of systems involved in the event and the duration, which means that it does not necessarily take longer to recover from an event where many systems are involved.

## Slide 21: 4. Conclusions (cont.)
  For many systems, there is very limited time between when the system they depend upon are affected and when effects arise in the system itself
    For example, Food supply, Sewage and Health care (which might signal a lack of buffers)
  Some systems seem to be more sensitive to disruptions with respect to the system they depend upon
    For example, Rail transportation, Sea transportation, and Media
  For other systems, the relationship seems to be the opposite, i.e. they are more resilient than the system they depend upon
    For example, Water supply, Health care, and Education
Notes: For many systems, there is very limited time between when the system they depend upon are affected and when effects arise in the system itself, e.g. for the systems Food supply, Sewage and Health care (i.e. might signal a lack of buffers for these systems).
Some systems seem to be more sensitive to disruptions with respect to the system they depend upon (e.g. Rail transportation, Sea transportation, and Media).
For other systems, the relationship seems to be the opposite, i.e. they are more resilient than the system they depend upon as the average system impact level is lower than the dependency impact (e.g. Water supply, Health care, and Education).

## Slide 22
  Many systems are impacted instantaneously after the start of an initiating event (e.g. the Public and Environment), or within one day (e.g. Power supply and Telecommunication)
  Consequently, there is generally only a short “window of opportunity” for taking action to remedy the effects of initiating events
  For many systems, there is very limited time delays between when the system they depend upon are affected and when effects arise in the system itself, e.g. for Food supply and Health care (which might signal a lack of buffers for these systems)
  For some systems, effects occur within one day, e.g. Power supply and Rail transportations, while for some other systems there are time delays up to several days, e.g. Water supply.
  This type of information can be used to signal “window of opportunities” for breaking chains of cascading effects and for which systems this might be possible
4. Conclusions (cont.)
Notes: Many systems are impacted instantaneously after the start of an initiating event (e.g. the systems Public and Environment), or within one day (e.g. the systems Power supply and Telecommunication)
This leads to the conclusion that there is generally only a small time window of opportunity for taking action to remedy the effects of initiating events.
For many systems, there is very limited time delays between when the system they depend upon are affected and when effects arise in the system itself, e.g. for the systems Food
For some systems, effects occur within one day, e.g. Power supply and Rail transportations, while for some other systems there are time delays up to several days, e.g. Water supply. This type of information can be used to signal “window of opportunities” for breaking chains of cascading effects and for which systems this might be possible.

## Slide 23
  Weather-related initiating events like hurricanes and heat waves tend to, in general, impact a larger area while some initiating events like fires or volcano eruptions tend to, in general, impact a smaller area
  The most frequent mitigating condition category is coping capacity, mostly in terms of external resources but also in terms of buffers, structural integrity and preparedness plans. ). The most mentioned aggravating condition is when the operational state is below normal capacity but also when the coping capacity (buffers and external resources) was below normal
This information is highly relevant as a basis for increased understanding of the nature of cascading effects and how to respond to these events
4. Conclusions (cont.)
Notes: Weather-related initiating events like hurricanes and heat waves tend to, in general, impact a larger area while some initiating events like fires or volcano eruptions tend to, in general, impact a smaller area.
The most frequent mitigating condition category is coping capacity, mostly in terms of external resources but also in terms of buffers, structural integrity and preparedness plans. Other commonly mitigating conditions is the operational state (above normal capacity), and the timing of the event (time of day and weekends). The most mentioned aggravating condition is when the operational state is below normal capacity but also when the coping capacity (buffers and external resources) was below normal.